# Customer Requirements Brief

Thar Sun Energy Pvt Ltd | 100 MWp solar PV | Prepared by: Manjit Mandal, SunAxis Trackers | 24-Oct-2026

FICTIONAL customer and supplier, created for a portfolio project. Items marked [A] are analyst assumptions, not information confirmed by the customer.

| Item | Requirement |
| --- | --- |
| Customer | Thar Sun Energy Pvt Ltd: independent power producer (IPP), India. Decision maker: Head of Procurement; technical sign-off: Head of Engineering. |
| Project | 100 MWp (DC) ground-mounted solar PV plant, Jodhpur district, Rajasthan. Site 27.30°N, 72.40°E [A]. |
| Offtake | 25-year PPA at about INR 2.60/kWh [A, benchmarked to recent Indian ISTS solar auctions]. |
| Equipment required | Single-axis tracker supply: structure, torque tubes, piles, drives, controllers and sensors, plus installation supervision and commissioning. Fixed-tilt structure is being evaluated as the alternative. |
| Delivery timeline | First tracker shipment Mar-2027; final shipment May-2027; commercial operation date (COD) Sep-2027 [A]. |
| Budget | Customer target price for trackers: up to INR 8.00/Wp. Fixed-tilt alternative quoted to the customer at INR 4.00/Wp [A]. |
| Competitor offer | Competitor B single-axis tracker at INR 7.60/Wp (as stated by the customer, not verified). |
| Decision criteria | 1) Impact on project IRR and LCOE; 2) bankability: lender / independent engineer acceptance and warranty; 3) delivery certainty; 4) price. |
| Financing | Non-recourse project finance, about 75% debt [A]. Lender's independent engineer will review the tracker supplier. |
| Commercial terms requested | Payment 10% advance / 80% on delivery / 10% on commissioning [A]. Warranty: 10 years structural, 5 years drives and electronics [A]. |
| Quote due | 06-Nov-2026 |

## Open questions to confirm with the customer

- Final DC/AC ratio, module type (bifacial?), and the ground cover ratio (GCR) the layout allows.

- Geotechnical report and design wind speed. These drive pile length and steel tonnage, the biggest cost line.

- Is the INR 7.60/Wp competitor price like-for-like? Does it include piles, supervision and freight to site?

- Lender's list of acceptable tracker suppliers, and the independent engineer's documentation requirements.

- Whether the customer will accept a steel-price adjustment clause, given the 3–4 month gap between order and steel purchase.